## Amendment
POWER PURCHASE AGREEMENT FOR PROCUREMENT OF 15 MW SOLAR POWER ON LONG TERM BASIS
Sl. No. | PPA Section | Page No. | Clause No | Description as per PPA Document | Category (Finance/Technical/Contractual) | Amendment
1 | ARTICLE 1 | 6 | 1.1 | “Commercial Operation Date (COD)” shall mean the date on which the commissioning certificate is issued upon successful commissioning (as per provisions of this Agreement) of the project or the last part capacity of the Project as the case may be; | Technical | “Commercial Operation Date (COD)” shall mean the date on which the commissioning certificate is issued upon successful commissioning (as per provisions of this Agreement) of the project.
2 | ARTICLE 1 | 8 | 1.1 | “Delivery Point” / “Interconnection point” / Point of connection with the LILO point “shall mean the single point at the voltage level of 66 kV of the Sub-station of FSPV Power Plant gantry where it interconnects to the LILO connection.” For interconnection with LILO connection and metering, the SPD shall abide by the relevant CERC Regulations, Grid Code and Central Electricity Authority (Installation and Operation of Meters) Regulations, 2006 as amended and revised from time to time or orders passed thereunder by the appropriate commission or CEA. Pursuant to Article 4.2.5, all charges and losses related to Transmission of power from project up to Delivery Point (including but not limited to open access, transmission, wheeling, DSM, Scheduling, Reactive power charges (if applicable) etc.) as notified by the competent authority / regulator shall be borne by the SPD and beyond the Delivery Point all charges and losses as notified by the competent authority / regulator from time to time shall be borne by the BBMB/partner/beneficiary States of BBMB. | Technical | “Delivery Point” / “Interconnection point” / Point of connection with the 33kV/66kV BBMB substation through a dedicated transmission line" “shall mean the single point at the voltage level of 33 kV of the Sub-station of FSPV Power Plant gantry where it interconnects to the dedicated transmission line connecting to the 33kV/66kV BBMB substation.” For interconnection with 33kV/66kV BBMB substation and metering, the SPD shall abide by the relevant CERC Regulations, Grid Code and Central Electricity Authority (Installation and Operation of Meters) Regulations, 2006 as amended and revised from time to time or orders passed thereunder by the appropriate commission or CEA. Pursuant to Article 4.2.5, all charges and losses related to Transmission of power from project up to Delivery Point (including but not limited to open access, transmission, wheeling, DSM, Scheduling, Reactive power charges (if applicable) etc.) as notified by the competent authority / regulator shall be borne by the SPD and beyond the Delivery Point all charges and losses as notified by the competent authority / regulator from time to time shall be borne by the BBMB/partner/beneficiary States of BBMB.
3 | ARTICLE 1 | 11 | 1.1 | LILO Connection” Shall mean dedicated 66 KV transmission line/network to be set up by BBMB for interconnecting the 66KV FSPV substation to 66 KV HPSEBL/HPPTCL line. | Technical | Deleted.
4 | ARTICLE 1 | 11 | 1.1 | “Power Project” or “Project” shall mean the floating solar power generation facility /ies comprising single unit at single location, having single point of injection into LILO connection of BBMB at Interconnection/ Delivery/ Metering Point. The Project shall include all units and auxiliaries such as water supply, treatment or storage facilities, bay(s) for transmission system in the switchyard, dedicated transmission line up to the Delivery Point and all the other assets, buildings/structures, equipment, plant and machinery, facilities and related assets required for the efficient and economic operation of the power generation facility, whether completed or at any stage of development and construction or intended to be developed and constructed for the purpose of supply of power to BBMB; | Technical | “Power Project” or “Project” shall mean the floating solar power generation facility /ies comprising single unit at single location, having single point of injection into 33kV/66kV BBMB substation at Interconnection/ Delivery/ Metering Point. The Project shall include all units and auxiliaries such as water supply, treatment or storage facilities, bay(s) for transmission system in the switchyard, dedicated transmission line up to the Delivery Point and all the other assets, buildings/structures, equipment, plant and machinery, facilities and related assets required for the efficient and economic operation of the power generation facility, whether completed or at any stage of development and construction or intended to be developed and constructed for the purpose of supply of power to BBMB;
5 | ARTICLE 1 | 13 | 1.1 | “Unit/ Part Commissioning” Subject to the compliance of conditions / procedure as detailed under Schedule-2 of this Agreement, Unit / Part Commissioning shall mean the Floating Solar PV Capacity (AC MW) to be commissioned as per provisions of this Agreement and RfS document. Part Commissioning shall be applicable for Projects having capacity not less than 05 MW; | Technical | Deleted.
6 | ARTICLE 4 | 22 | 4.1.1 (i) | Obtaining Long Term Access (LTA) upto the delivery point, for evacuation of the Contracted Capacity and maintaining it throughout the term of the Agreement. Beyond delivery point, it shall be responsibility of BBMB to avail necessary clearances from HPSEBL/HPPTCL or concerned authorities such as obtaining LTA etc., for evacuation of the Contracted Capacity and maintaining it throughout the term of the Agreement. | Technical | Obtaining Long Term Access (LTA) upto the delivery point, for evacuation of the Contracted Capacity and maintaining it throughout the term of the Agreement. Beyond delivery point, it shall be responsibility of BBMB to avail necessary clearances from concerned authorities such as obtaining LTA etc., for evacuation of the Contracted Capacity and maintaining it throughout the term of the Agreement.
7 | ARTICLE 4 | 23 | 4.2.1 | The SPD shall be required to obtain all information from the HPSEBL/HPPTCL/BBMB/concerned authority with regard to the Interconnection Facilities as is reasonably necessary to enable it to design, install and operate all interconnection plant and apparatus on the SPD’s side of the Delivery Point to enable delivery of electricity at the Delivery Point. The transmission of power up to the point of interconnection / delivery point where the metering is done for energy accounting shall be the responsibility of the SPD at his own cost. | Technical | The SPD shall be required to obtain all information from the BBMB/concerned authority with regard to the Interconnection Facilities as is reasonably necessary to enable it to design, install and operate all interconnection plant and apparatus on the SPD’s side of the Delivery Point to enable delivery of electricity at the Delivery Point. The transmission of power up to the point of interconnection / delivery point where the metering is done for energy accounting shall be the responsibility of the SPD at his own cost.
8 | ARTICLE 4 | 23 | 4.2.2 | Penalties, fines and charges imposed by the HPSEBL/HPPTCL/BBMB under any statute or regulation in relation to delay in commissioning of Project shall be payable by the SPD to the extent the delay is attributable to the SPD. | Technical | Penalties, fines and charges imposed by the BBMB/concerned authority under any statute or regulation in relation to delay in commissioning of Project shall be payable by the SPD to the extent the delay is attributable to the SPD.
9 | ARTICLE 4 | 23 | 4.2.4 | The arrangement of connectivity upto the gantry of 66 KV FSPV Substation / delivery point shall be made by the SPD. The entire cost of transmission including cost of construction of line, any other charges, losses etc. from the Project up to the Interconnection Point will be borne by the SPD. In case of non-availability of Grid and Transmission System during Term of this Agreement, for reasons not attributable to the SPD, provisions of Article 4.10 shall be applicable. | Technical | The arrangement of connectivity upto the gantry of 33 KV FSPV Substation / delivery point shall be made by the SPD. The entire cost of transmission including cost of construction of line, any other charges, losses etc. from the Project up to the interconnection Point will be borne by the SPD. In case of non-availability of Grid and Transmission System during Term of this Agreement, for reasons not attributable to the SPD, provisions of Article 4.10 shall be applicable.
10 | ARTICLE 4 | 23 | 4.2.5 | Erection, commissioning and maintenance of LILO connection from the gantry of FSPV substation / delivery point up to the HPSEBL/HPPTCL line shall be the responsibility of BBMB solely. | Technical | Erection, commissioning and maintenance of a dedicated transmission line from the gantry of FSPV substation / delivery point up to the 33KV/66KV BBMB substation shall be the responsibility of BBMB solely.
11 | ARTICLE 4 | 27 | 4.5.2 | Subsequent to grant of connectivity, in case there is a delay in grant/operationalization of LTA and/or there is a delay in readiness of the LILO connection at the Delivery Point, including readiness of the power evacuation and transmission infrastructure of the transmission network until SCD of the Project, and it is established that: (i) The SPD has complied with the complete application formalities as per RfS, (ii) The SPD has adhered to the applicable Procedure in this regard as notified by the CERC and (iii) The delay in grant of connectivity/LTA and/or delay in readiness of the LILO connection at the Delivery Point, including readiness of the power evacuation and transmission infrastructure of the transmission network, is a factor attributable to the BBMB and/or transmission licensee and is beyond the control of the SPD........ | Technical | Subsequent to grant of connectivity, in case there is a delay in grant/operationalization of LTA and/or there is a delay in readiness of the dedicated transmission line at the Delivery Point, including readiness of the power evacuation and transmission infrastructure of the transmission network until SCD of the Project, and it is established that: (i) The SPD has complied with the complete application formalities as per RfS, (ii) The SPD has adhered to the applicable Procedure in this regard as notified by the CERC and (iii) The delay in grant of connectivity/LTA and/or delay in readiness of the dedicated transmission line at the Delivery Point, including readiness of the power evacuation and transmission infrastructure of the transmission network, is a factor attributable to the BBMB and/or transmission licensee and is beyond the control of the SPD.........
12 | ARTICLE 4 | 29 | 4.10.1 | Generation Compensation in offtake constraint due to Transmission Infrastructure not complete/ ready (Transmission constraint): After the Scheduled Commissioning Date, subject to the submission of documentary evidences from the Competent Authority, if the plant is ready in all respects upto the delivery point to connect to the LILO connection but the necessary power evacuation/ transmission infrastructure is not ready, for reasons not attributable to the SPD, leading to offtake constraint, the generation compensation shall be restricted to the following and there shall be no other claim, directly or indirectly against BBMB: Transmission Constraint If the Project is ready but the necessary power evacuation /LILO connection /transmission infrastructure is not ready, leading to offtake constraint Provision for Generation Compensation The normative CUF of 19% (Nineteen per cent) or committed CUF, whichever is lower, for the period of grid unavailability, shall be taken for the purpose of calculation of generation loss. Corresponding to this generation loss, the excess generation by the SPD in the succeeding 3 (three) Contract Years, shall be procured by BBMB at the PPA tariff so as to offset this loss. However, it is clarified that if the Project is ready for commissioning prior to the Scheduled Commissioning Date, but the offtake is constrained because of inadequate/incomplete power evacuation infrastructure up to the delivery point for the reasons attributable to SPD, no compensation shall be permissible. However, it is also clarified that if the plant is ready in all respects upto the delivery point to connect to the LILO connection and it is also ready to evacuate the power to HPSEBL/HPPTCL line but the necessary power evacuation/ transmission infrastructure is not ready at the end of all or any of the Partner/Beneficiary States of BBMB leading to offtake constraint (full or part), then BBMB shall compensate SPD as per this clause, assuming the off take constraint is due to BBMB only. | Technical | Generation Compensation in offtake constraint due to Transmission Infrastructure not complete/ ready (Transmission constraint): After the Scheduled Commissioning Date, subject to the submission of documentary evidences from the Competent Authority, if the plant is ready in all respects upto the delivery point to connect to the 33kV/66kV BBMB substation but the necessary power evacuation/ transmission infrastructure is not ready, for reasons not attributable to the SPD, leading to offtake constraint, the generation compensation shall be restricted to the following and there shall be no other claim, directly or indirectly against BBMB: Transmission Constraint If the Project is ready but the necessary power evacuation /transmission infrastructure is not ready, leading to offtake constraint Provision for Generation Compensation The normative CUF of 19% (Nineteen per cent) or committed CUF, whichever is lower, for the period of grid unavailability, shall be taken for the purpose of calculation of generation loss. Corresponding to this generation loss, the excess generation by the SPD in the succeeding 3 (three) Contract Years, shall be procured by BBMB at the PPA tariff so as to offset this loss. However, it is clarified that if the Project is ready for commissioning prior to the Scheduled Commissioning Date, but the offtake is constrained because of inadequate/incomplete power evacuation infrastructure up to the delivery point for the reasons attributable to SPD, no compensation shall be permissible. However, it is also clarified that if the plant is ready in all respects upto the delivery point to connect to the dedicated transmission line and it is also ready to evacuate the power to 33kV/66kV BBMB substation but the necessary power evacuation/ transmission infrastructure is not ready at the end of all or any of the Partner/Beneficiary States of BBMB leading to offtake constraint (full or part), then BBMB shall compensate SPD as per this clause, assuming the off take constraint is due to BBMB only.
13 | ARTICLE 5 | 34 | 5.1.6 | Part commissioning of the Project shall be accepted by SECI & BBMB in accordance with “Schedule 2: Commissioning Procedure” of this PPA. |  | Early commissioning of the Project shall be accepted by BBMB in accordance with Article 9 and “Schedule 2: Commissioning Procedure” of this PPA
14 | ARTICLE 9 | 38 | 9.1 | The SPD shall be entitled to receive the Tariff of Rs. …………../ kWh [Insert the Tariff discovered through the bidding process conducted by SECI on behalf of BBMB and adopted by CERC], fixed for the entire term of this Agreement, with effect from the SCD, for the power sold by the SPD to the BBMB for the scheduled energy as reflected in the Regional Energy Accounts. In case of early partcommissioning, till SCD, subject to the consent for such purchase by BBMB, BBMB may purchase the generation @ 75% (seventy-five per cent) of the PPA tariff. However in case the entire project capacity is commissioned prior to SCD, BBMB may purchase energy supplied till SCD at [Insert Tariff]/kWh. In both the cases of early part or full commissioning of the Project, the Applicable Tariff for the commissioned Project shall be Rs.______/kWh [Insert Tariff] from and including the SCD. |  | The SPD shall be entitled to receive the Tariff of Rs. …………../ kWh [Insert the Tariff discovered through the bidding process conducted by SECI on behalf of BBMB and adopted by CERC], fixed for the entire term of this Agreement, with effect from the SCD, for the power sold by the SPD to the BBMB for the scheduled energy as reflected in the Regional Energy Accounts. The SPD shall be permitted for full commissioning of the Project even prior to the Scheduled Commissioning Date, subject to availability of transmission connectivity and Long-Term Access (LTA) as applicable. Early commissioning of the Project will be allowed solely at the risk and cost of the SPD and only in case the BBMB agrees to purchase power from the Project at an earlier date. In case of early full commissioning, till SCD, subject to the consent for such purchase by BBMB, BBMB may purchase the generation at PPA tariff. Such intimation for early commissioning shall be provided to BBMB at least 15 days prior to the proposed early commissioning date. In case there is no response provided by BBMB within 15 days from the receipt of such intimation, such early commissioned capacity shall be deemed to have been refused by BBMB.
15 | ARTICLE 10 | 39 | 10.2.2 | As per applicable regulation(s) of the Appropriate Commission, all charges pertaining to obtaining open access and scheduling of power etc. upto the SPD’s obligations as defined in the PPA, if any, shall be borne by the SPD. All similar charges, if any, beyond delivery point, including LILO connection, shall be borne by BBMB. | Technical | As per applicable regulation(s) of the Appropriate Commission, all charges pertaining to obtaining open access and scheduling of power etc. upto the SPD’s obligations as defined in the PPA, if any, shall be borne by the SPD. All similar charges, if any, beyond delivery point, including dedicated transmission line, shall be borne by BBMB.
16 | ARTICLE 10 | 40 | 10.3.3 | Late Payment Surcharge In the event of delay in payment of a Monthly Bill by BBMB beyond Due date, Late Payment Surcharge shall be payable to the SPD at the rate of 1.25% per month on the outstanding amount calculated on a day to day basis. The Late Payment Surcharge shall be claimed by the SPD through the Supplementary Bill. | Finance | Late Payment Surcharge (a) In the event of delay in payment of a Monthly Bill by BBMB beyond Due date, Late Payment Surcharge shall be payable to the SPD on the outstanding payment after the due date at the base rate of Late Payment Surcharge applicable for the period for the first month of default. The Late Payment Surcharge shall be claimed by the SPD through the Supplementary Bill. “Base rate of Late Payment Surcharge” means the marginal cost of funds based lending rate for one year of the State Bank of India, as applicable on the 1st April of the financial year in which the period lies, plus five percent and in the absence of marginal cost of funds based lending rate, any other arrangement that substitutes it, which the Central Government may, by notification, in the Official Gazette, specify: Provided that if the period of default lies in two or more financial years, the base rate of Late Payment Surcharge shall be calculated separately for the periods falling in different years; (b) The rate of Late Payment Surcharge for the successive months of default shall increase by 0.5 percent for every month of delay provided that the Late Payment Surcharge shall not be more than 3 percent higher than the base rate at any time: Provided that the rate at which Late Payment Surcharge shall be payable shall not be higher than the rate specified in the agreement for purchase of power, if any: Provided further that, if BBMB has any payment including Late Payment Surcharge outstanding against a bill after the expiry of seven months from the due date of the bill, it shall be debarred from procuring power from a power exchange or grant of short term open access till such bill is paid. (c) All payments by BBMB to SPD for power procured from it shall be first adjusted towards Late Payment Surcharge and thereafter, towards monthly charges, starting from the longest overdue bill.
17 | ARTICLE 10 | 40 | 10.3.4 | Subject to the Article 9 of this Agreement, in the event of early Commissioning of the Project and subject to acceptance by BBMB, the payment for the power scheduled may be accounted from the date of Commissioning of any part or full (whichever is earlier) and SPD would be allowed to raise Bills accordingly. |  | Subject to the Article 9 of this Agreement, in the event of early Commissioning of the Project and subject to acceptance by BBMB, the payment for the power scheduled may be accounted from the date of Commissioning of full capacity (whichever is earlier) and SPD would be allowed to raise Bills accordingly.
18 | ARTICLE 10 | 41 | 10.3.5 | For payment of any Bill on or before Due Date, the following Rebate shall be paid by the SPD to BBMB in the following manner. a) A Rebate of 2% shall be payable to the BBMB for the payments made within a period of 10 (ten) days of the presentation of hard copy of Bill. b) Any payments made after ten (10) days of the date of presentation of Bill through hard copy up to the Due Date shall be allowed a rebate of 1%. c) For the above purpose, the date of presentation of Bill shall be the next Business Day of delivery of the physical copy of the Bill at BBMB. d) No Rebate shall be payable on the Bills raised on account of Change in Law relating to taxes, duties, cess etc. and on Supplementary Bill. For the above purpose date of presentation of bill shall be the same day of delivery in hard copy. However, for consideration of rebate, next business day shall be considered. | Finance | For payment of any Bill on or before Due Date, the following Rebate shall be paid by the SPD to BBMB in the following manner. a) A Rebate of 1.5% shall be payable to the BBMB for the payments made within a period of 5 (five) days of the presentation of hard copy of Bill. b) Any payments made after 5 (five) days and within a period of 30 days from the date of presentation of Bill through hard copy shall be allowed a rebate of 1%. c) For the above purpose, the date of presentation of Bill shall be the next Business Day of delivery of the physical copy of the Bill at BBMB. d) No Rebate shall be payable on the Bills raised on account of Change in Law relating to taxes, duties, cess etc. and on Supplementary Bill. For the above purpose date of presentation of bill shall be the same day of delivery in hard copy. However, for consideration of rebate, next business day shall be considered.
19 | ARTICLE 10 | 62 | 15.1 | This Agreement shall be binding upon, and inure to the benefit of the Parties and their respective successors and permitted assigns. This Agreement shall not be assigned by any Party, except to the Project Lenders or Lender’s Representative as security for their debt under the Financing Agreements, other than by mutual consent between the Parties to be evidenced in writing. Such assignment shall be agreed to by BBMB subject to the compliance of provisions contained in this Agreement and more specifically to the provisions of Article 4.1.1 of this Agreement. In no case, such assignment shall be permissible prior to the declaration of COD. Provided that, BBMB shall permit assignment of any of SPD’s rights and obligations under this Agreement in favour of the lenders of the SPD, if required under the Financing Agreements. Provided that, such consent shall not be withheld if BBMB seeks to transfer to any transferee all of its rights and obligations under this Agreement. The enforcement of the rights and obligation between the SPD and the BBMB provided in this Agreement shall not be treated as an assignment but an enforcement of the terms agreed under this Agreement. Provided further that any successor(s) or permitted assign(s) identified after mutual agreement between the Parties may be required to execute a new agreement on the same terms and conditions as are included in this Agreement. An amount of Rs. 5 Lakh per Transaction as Facilitation Fee (non-refundable) shall be deposited by the SPD to BBMB. Provided further that, such consent shall not be withheld by the SPD if BBMB seeks to transfer to any affiliate all of its rights and obligations under this Agreement. In the event of Change in Shareholding/Substitution of Promoters triggered by the Financial Institutions leading to signing of fresh PPA with a New Entity, an amount of Rs. 10 Lakh per Transaction as Facilitation Fee (non-refundable) shall be deposited by the SPD to BBMB. | Finance | This Agreement shall be binding upon, and inure to the benefit of the Parties and their respective successors and permitted assigns. This Agreement shall not be assigned by any Party, except to the Project Lenders or Lender’s Representative as security for their debt under the Financing Agreements, other than by mutual consent between the Parties to be evidenced in writing. Such assignment shall be agreed to by BBMB subject to the compliance of provisions contained in this Agreement and more specifically to the provisions of Article 4.1.1 of this Agreement. In no case, such assignment shall be permissible prior to the declaration of COD. Provided that, BBMB shall permit assignment of any of SPD’s rights and obligations under this Agreement in favour of the lenders of the SPD, if required under the Financing Agreements. Provided that, such consent shall not be withheld if BBMB seeks to transfer to any transferee all of its rights and obligations under this Agreement. The enforcement of the rights and obligation between the SPD and the BBMB provided in this Agreement shall not be treated as an assignment but an enforcement of the terms agreed under this Agreement. Provided further that any successor(s) or permitted assign(s) identified after mutual agreement between the Parties may be required to execute a new agreement on the same terms and conditions as are included in this Agreement. An amount of Rs. 5 Lakh plus GST per Transaction as Facilitation Fee (non-refundable) shall be deposited by the SPD to BBMB. Provided further that, such consent shall not be withheld by the SPD if BBMB seeks to transfer to any affiliate all of its rights and obligations under this Agreement. In the event of Change in Shareholding/Substitution of Promoters triggered by the Financial Institutions leading to signing of fresh PPA with a New Entity, an amount of Rs. 10 Lakh plus GST per Transaction as Facilitation Fee (non-refundable) shall be deposited by the SPD to BBMB.
20 | SCHEDULE 2: COMMISSIONING PROCEDURE: |  | (iii) | For commissioning of the Project, cumulative capacity of DC arrays and cumulative capacity of the inverters installed shall be considered. In case of part commissioning of the Project, it shall be required to have the DC Arrays Capacity and inverters capacity be installed not less than the proposed part commissioning capacity | Technical | For commissioning of the Project, cumulative capacity of DC arrays and cumulative capacity of the inverters installed shall be considered. Bidder is required to ensure that the DC Arrays Capacity and inverters capacity be installed not less than the proposed full commissioning capacity of the project.
21 | Appendix I, Commissioning Procedure, Documents to be submitted to BBMB/SECI | 75 | 17 | SPD shall have to submit the as-built drawing after the commissioning prior to the UCOD/COD | Technical | SPD shall have to submit the as-built drawing after the commissioning prior to the COD
22 | Appendix I, Commissioning Procedure, Documents to be submitted to BBMB/SECI | 75 | 18 | SPD shall have to push the required plant related data to SECI designated server in xml/json formats. Additionally, SPD shall also provide the login details/ SCADA login to SECI for online real time data monitoring prior to UCOD/COD. | Technical | SPD shall have to push the required plant related data to SECI designated server in xml/json formats. Additionally, SPD shall also provide the login details/ SCADA login to SECI for online real time data monitoring prior to COD.
23 | Appendix I, Commissioning Procedure, Documents to be submitted to BBMB/SECI | 75 | 21 | SPD is permitted to schedule the Commissioning of the Project in full or part as per the commissioning procedure elaborated in Clause No. 16, Section-II, ITB of RfS Documents. | Technical | SPD is permitted to schedule the Commissioning of the Project in full as per Article 9 of the PPA and as per the commissioning procedure elaborated in Clause No. 16, Section-II, ITB of RfS Documents.
24 | Appendix 2, INSTALLATION REPORT | 77 | XII | Date of Installation of Part / Full Capacity (as per Capacity proposed to be Commissioned) | Technical | Date of Installation of Full Capacity (as per Capacity proposed to be Commissioned)