## Pre Bid Queries
Tender for Selection of Agency for generation forecasting and load forecasting work including coordination with BESCOM, KPTCL, DRDO/MES- 10 MW Solar PV Power Plant at DRDO Premises, Kolar, Karnataka
Tender No : SECI/C&P/MI/00/0019/2023-24
Sl. No. | Tender Section | Page No. | Clause No | Description as per Tender Document | Queries | Category (Finance/Technical/Contractual) | Clarifications
1 | 2. SCOPE OF SERVICES/WORK | 14 of 159 | b. | Form C shall contain the Quntum of energy to be wheeled which will be calculated by the service agency based on the actual generation of the SPV Plant to be collected from project site and actual consumption/load of the DRDO offices/MES substations (based on the electricity bills etc.) for first 24 days and for the remaining 06/07 days, the service agency will carry out prediction / forecasting for energy generation from the SPV Plant and energy consumptions of the DRDO offices/ load points. | Is there any format beign prepared already by SECI/BESCOM/MES on the forecasted energy for 6 days. ⁠Formats for both generation and demand forecasts to be shared and timelines for remaining 6/7 days to be understood. Please share format prepared if any to the Agency for demand forecasting? | Technical | There is no standard format. As per there own analysis, the seletced agecy shall submit the forcasted data and draft Form C to SECI. SECI shall review the same and if found accepetable SECI shall provide the signed copy of Form C to selected agency for onward submission to BESCOM.
2 | 2. SCOPE OF SERVICES/WORK | 17 of 159 | vii) | The above scope of the service agency may be amended by SECI as per the applicable KERC regulations/orders issued from time to time. | Request to clearity define scope . If there is any change in the existing method additional charges shall be for the scope shall be considered by SECI for the Agency. Please clarify if any additional scope or change in is included at later stage in billing activity than extra charges shall be provided to the Agency after a mutaul contractual agreement. | Technical | The terms and conditions of the tender document shall prevail.
3 | Tender Notice Doc_BID INFORMATION SHEET | 9 of 159 | 6 | Completion/ Contract Period- The Contract Period will be of 03 years from the date of signing of Contract Agreement with the provision for extension for another 02 years at the same terms and conditions | Extension of service to additional 2 years with same conditions are fine. but there shall be commercial esclaation in the price with repect to Labour indexing shall be applicable. or we request additonal 2 years service also to be included in the initail bidding stage only. | Contractual | The terms and conditions of the tender document shall prevail.
4 | 1.2 TECHNICAL ELIGIBILITY CRITERIA | 89 of 159 | 1.2.1 | The Bidder should have rendered satisfactory services and successfully executed contracts of “Similar Works” in any of the last three years (ending month of March prior to the bid opening). “Similar Works” means the services rendered as service provider for the “Generation Forecasting and Load Forecasting” to the Renewable Energy Generators in public/private sector with Renewable Energy Generating Plants connected to the state/national grid or electricity exchanges. The minimum capacity of a single Renewable Energy Generating plant as operated by the bidder shall be 8 MW(AC) | It is understood that 1 project of 8MW AC in last three is the eligible creteria for the selection . Request you to kindly accept and amend the clause to bidder should have expierence in last 7 years from last 3 years as there shall be projects in AMC stage aswell. | Contractual | The terms and conditions of the tender document shall prevail.
5 | 1.2.3 | 89 of 159 | 1.2.3 | The Bidder should have successfully completed at least one single similar work order of value of INR 37,80,000 (Indian Rupees Thirty-Seven Lakhs Eighty Thousand only) or more during any of the last three years i.e. the current financial year and the last three financial years. | Request to amend the clause to 30Lakhs from 37 lakhs work order contract value . Please amend the work order acceptance of Rs 30Lakhs of similar experience. | Contractual | The terms and conditions of the tender document shall prevail.
6 |  |  |  | General | Include the basis requirment documents such as - CMMI Level 3 and ISO 9001 Certification for the qulaified bidders to participate in the tender - Please include below points in technical eligibility criteria stage Bidder should be ISO 9001, 20000, 27001 certified for more than 3 years before the date of tender issue. Bidder should be CMMI level 3 or higher certified for more than a year before the date of tender issue. | Technical | The terms and conditions of the tender document shall prevail.
7 |  |  |  | General | No.of units for DRDO demand forecasting- Please provide details on units / meters /base load / 2MW to consumption . maximum and minimum consumption possible. | Technical | Please refer Annexure - IA and IB
8 |  |  |  | General | Whether Month Ahead forecast is required on 15 mins basis- what is the date and timing that the forecast data is required 5min/15min weekly or Monthly . also let us know which data is used for calculation for LD ? | Technical | As per there own analysis, the seletced agecy shall submit the forcasted data and draft Form C to SECI on monthly basis.
9 | Tender notice Document | 50 of 159 | 1.2.3 | The Bidder should have successfully completed at least two similar work orders of value of INR 23,60,000 (Indian Rupees Twenty-Three Lakhs Sixty Thousand only) or more during any of the last three years i.e. the current financial year and the last three financial years. | Whether two WO can be furnished for demand forecasting and generation forecasting. Can we furnish 1 Work order on demand forecast and 1 work order on generation forecasting to meet the Qualification requirment | Technical | Please refer to Amendment 01.
10 |  |  |  | General | Please provide detailing on LD when unutilized/banked energy beyond completion of financial year. | Technical | Please refer sl. no. 3 of table provided at Annexure 2 to SCC
11 |  |  |  | General | Base load details will need to be furnished for each unit of DRDO for service provider to understand risk as high LD is applicable on difference in scheduled energy and DRDO consumption. Base Load / Minimum and maximum consumption of each unit of DRDO/MES and KW/KVA consumption data to be shared | Technical | Please refer Annexure - IA and IB
12 |  |  |  | General | It seems the overall budget of the project is 47Lakhs when compaired with the EMD amount . Budget of the project has to be enhansed from 47lakhs for 3 +2 Years extensed service to 2 to 3Crs as the scope of project includes hardware sytem supply and software SAAS which includes demand forecasting and generation foreacasting for 5 Years | Contractual | The terms and conditions of the tender document shall prevail.
13 |  |  |  | General | The technical qulaification of 8MWac forecasting service in generation and demand forescasting should be considered for any PSUs/ Transmissions Utilities / SLDC/Power Generating stations. | Technical | The terms and conditions of the tender document shall prevail.
14 |  |  |  | General | For the qualification cretria subcontracting works shall also be considered. which has to be in the name of party one to the agency completed the project. | Technical | The terms and conditions of the tender document shall prevail.

## Amendment 01
Tender for Selection of Agency for generation forecasting and load forecasting work including coordination with BESCOM, KPTCL, DRDO/MES- 10 MW Solar PV Power Plant at DRDO Premises, Kolar, Karnataka
Tender No : Tender No : SECI/C&P/MI/00/0019/2023-24
Sl. No. | Tender Section | Page No. | Clause No | Original Version | Amendment
1 | Section - IV "QR" 1.2 TECHNICAL ELIGIBILITY CRITERIA | - | - | The Bidder should have rendered satisfactory services and successfully executed contracts of “Similar Works” in any of the last three years (ending month of March prior to the bid opening). “Similar Works” means the services rendered as service provider for the “Generation Forecasting and Load Forecasting” to the Renewable Energy Generators in public/private sector with Renewable Energy Generating Plants connected to the state/national grid or electricity exchanges. The minimum capacity of a single Renewable Energy Generating plant as operated by the bidder shall be 8 MW(AC). | The Bidder should have rendered satisfactory services and successfully executed contracts of “Similar Works” in any of the last three years (ending month of March prior to the bid opening). “Similar Works” means the services rendered as service provider for the “Generation Forecasting OR Load Forecasting” to the Renewable Energy Generators in public/private sector with Renewable Energy Generating Plants connected to the state/national grid or electricity exchanges. The minimum capacity of a single Renewable Energy Generating plant as operated by the bidder shall be 8 MW(AC).