## Page_1
College of Horticulture & Forestry,Pasighat, Arunachal Pradesh
Sr. No. | Building Name / Number | Total Shadow Free Rooftop Area ( in sq. Mtrs) | Height of building ( Meters) | Building Age as May 2026 ( Years) | Connected Load / Incoming Feedar Rating (KW) | Place Specify Roof Type (RCC/GI/Sheet/Asbestos etc.) | Undisturbed Availability | Shadow Free Land | Latitude/Longitude | Sanction Load (in kW)
1 | Administrative & Academic Block-A | 890 | 7 | 16 | 76 | RCC |  | nil | Lat 28.078° Long 95.324° | 550
2 | Academic Block-B | 396 | 7 | 10 | 28 | GI Sheet |  | nil
3 | Old Admin & Academic Building | 2700 | 3.5 | 25 | 34 | GI Sheet |  | nil
4 | Guest House | 109 | 7 | 18 | 29 | RCC |  | nil
5 | Transit Hostel (Using as U.G. Girls' Hostel) | 490 | 7 | 18 | 24 | GI Sheet |  | nil
6 | U.G. Boys' Hostel | 3336 | 3.5 | 25 | 36 | GI Sheet |  | nil
7 | U.G. Girls' Hostel | 398 | 9.5 | 20 | 15 | GI Sheet |  | nil
8 | P.G. Boys' Hostel | 465 | 7 | 7 | 13 | RCC |  | nil
9 | P.G. Girls' Hostel | 465 | 7 | 7 | 12 | RCC |  | nil
10 | ATTC & KVK Building | 416 | 7 | 12 | 20 | GI Sheet |  | nil
11 | Auditorium | 222 | 7 | 13 | 22 | RCC |  | nil
12 | Indoor Sports Arena | 461 | 12 | 7 | 8 | GI Sheet |  | nil
13 | Residential Buildings-Phase-I (18 nos.) | 3000 | 7 | 19 | 104 | RCC |  | nil
14 | Residential Buildings-Phase-II (12 nos.) | 1545 | 7 | 7 | 54 | GI Sheet |  | nil
15 | Dean's Residence | 138 | 7 | 7 | 4 | RCC |  | nil
16 | V.C. Camp Officer | 193 | 7 | 19 | 14 | RCC |  | nil
|  | 15224 |  |  | 493
| Rooftop installation possible (in kW) @10 sqm/kW) | 1522.4
| Rooftop installation possible (in kW) @15 sqm/kW) | 1014.9333 | [6 empty] | 90 % of sanction load (in kW) | 495

## Page_2
College of Agriculture, Pasighat, Arunachal Pradesh
Sr. No. | Building Name / Number | Total Shadow Free Rooftop Area ( in sq. Mtrs) | Height of building (Meters) | Building Age as on May 2026 (Years) | Connected Load / Incoming Feedar Rating (KW) | Place Specify Roof Type (RCC/GI/Sheet/Asbestos etc.) | Undisturbed Availability of rooftop for solar plant life | Shadow Free Land available fpr solar (in sq. mtrs) | Latitude/Longitude | Sanction Load (in kW)
1 | Administrative & Academic Building | 2515 | 10.5 | 3 | 21 | RCC |  | NIL | Lat 28.087° Long 95.318° | 45
2 | Transit Hostel | 450 | 10.5 | 3 | 8 | RCC |  | NIL
3 | Boys' Hostel | 520 | 7 | 3 | 7 | GI Sheet |  | NIL
4 | Girls' Hostel | 520 | 7 | 3 | 7 | GI Sheet |  | NIL
5 | Residential Building | 99 | 3.5 | 3 | 0 | RCC |  | NIL
6 | Tribal Girls' Hostel | 372 | 7 | 1 | 6 | RCC |  | NIL
|  | 4476 |  |  | 49
| Rooftop installation possible (in kW) @10 sqm/kW) | 447.6
| Rooftop installation possible (in kW) @15 sqm/kW) | 298.4 | [6 empty] | 90 % of sanction load (in kW) | 40.5

## Page_3
College of Agriculture Engineering & Post Harvest Technology , Ranipool, Sikkim
Sr. No. | Building Name / Number | Total Shadow Free Rooftop Area ( in sq. Mtrs) | Height of building ( Meters) | Building Age as May 2026 ( Years) | Connected Load / Incoming Feedar Rating (KW) | Please Specify Roof Type (RCC/GI/Sheet/Asbestos etc.) | Undisturbed Availability of rooftop for solar plant life (in %) | Undisturbed Availability of rooftop for solar plant life (in sq mtrs) | Shadow Free Land available for solar (in sq mtrs) | Latitude/Longitude | Sanction Load (in kW)
1 | South Academic Block | 1300 | 13.3 | 17 Years | 60 | RCC roof | 0.8 | 1040 | 80% | Lat 27.288937, Long 88.592293 | 200
2 | North Academic Block | 1300 | 13.3 | 12 yrs | 60 | RCC roof with Half GI Sheet | 80% | 1040 | 80% | Lat 27.289394, Long 88.593051
3 | ATTC Building | 400 | 7.3 | 13 yrs | 20 | RCC roof | 40% | 160 | 40% | Lat 27.289574, Long 88.593301
4 | Girls Hostel | 500 | 10.9 (Half 17 yrs & Half 8) | 17 yrs & 8 yrs | 40 | RCC roof | 50% | 250 | 50% | Lat 27.289922, Long 88.593704
5 | Boys Hostel | 450 | 10.9 (Half 17 yrs & Half 8) | 17 yrs & 8 yrs | 40 | RCC roof | 50% | 225 | 50% | Lat 27.288382, Long 88.591883
6 | Boys Hostel | 400 | 10.9 | 17 yrs | 10 | GI Sheet roof | 50% | 200 | 50% | Lat 27.288358, Long 88.592074
7 | Utility Block Hostel | 200 | 10.3 | 6 yrs | 10 | RCC roof | 80% | 160 | 80% | Lat 27.290898, Long 88.593991
8 | MITTC Building | 250 | 70.5 | 6 yrs | 10 | RCC roof | 60% | 150 | 60% | Lat 27.290976, Long 88.593600
9 | Auditorium | 400 | 8.1 | 13 yrs | 40 | Partial RCC and GI Sheet roof | 80% | 320 | 80% | Lat 27.290650, Long 88.592838
10 | Workshop | 350 | 4.8 | 13 yrs | 30 | GI Sheet roof | 50% | 175 | 50% | Lat 27.288666, Long 88.592083
|  | 5550 |  |  | 320 |  |  | 3720
| Rooftop installation possible (in kW) @10 sqm/kW) | 465
| Rooftop installation possible (in kW) @15 sqm/kW) | 248 | [7 empty] | 90 % of sanction load (in kW) | 180

## Page_4
College of Horticulture,Bermiok,Sikkim
Sr. No. | Building Name / Number | Total Shadow Free Rooftop Area (in sq. Mtrs) | Height of building (Meters) | Building Age as May 2026 (Years) | Connected Load / Incoming Feedar Rating (KVA) | Place Specify Roof Type (RCC/GI/Sheet/Asbestos etc.) | Undisturbed Availability of rooftop for solar plant life (in %) | Undisturbed Availability of rooftop for solar plant life (insq mtrs) | Shadow Free Land available for solar (in sq mtr) | Latitude/Longitude | Sanction Load (in kW)
1 | Administrative Building | 700 | 14.9 | 3 years | 60 | RCC roof | 0.8 | 560 | 80% | Lat-27.226039, Lon-88.474729 | 200
2 | Academic Building | 850 | 13.3 | 3 years | 60 | RCC roof | 0.8 | 680 | 80% | Lat-27.225335, Lon-88.475002
3 | Girls Hostel | 625 | 7.3 | 3 years | 30 | RCC roof | 0.8 | 500 | 60% | Lat-27.227624, Lon-88.475214
4 | Boys Hostel | 625 | 10.9 | 3 years | 30 | RCC roof | 0.8 | 500 | 50% | Lat-27.226806, Lon-88.475778
5 | Transit House | 450 | 10.9 | 3 years | 40 | RCC roof | 0.8 | 360 | 50% | Lat-27.226673, Lon-88.474660
|  | 3250 |  |  | 220 |  |  | 2600
| Rooftop installation possible (in kW) @8 sqm/kW) | 325
| Rooftop installation possible (in kW) @15 sqm/kW) | 173.3333 | [7 empty] | 90 % of sanction load (in kW) | 180

## Page_5
College of Veterinary Sciences & Animal Husbandry,Selesih,Mizoram
Sr. No. | Building Name / Number | Total Shadow Free Rooftop Area ( in sq. Mtrs) | Height of building (Meters) | Building Age as May 2026 ( Years) | Connected Load / Incoming Feedar Rating (KW) | Place Specify Roof Type (RCC/GI/Sheet/Asbestos etc.) | Undisturbed Availability of rooftop for solar plant life | Shadow Free Land available for solar (in sq mtrs) | Latitude/Longitude | Sanction Load (in kW)
1 | VTC | 167 | 10 | 4 | 6 | RCC roof with pre coated GI sheet | 135 | 50 | 23.8077, 92.73511 | 800
2 | MTTC | 175 | 12 | 4 | 8 | RCC roof with pre coated GI sheet | 150 | 60 | 23.8075,92.73497
3 | Library | 270 | 13 | >20 | 6 | RCC flat roof | 250 | 20 | 23.80772,92.73319
4 | New Academic | 280 | 15 | 15 | 44 | RCC roof with pre coated GI sheet | 210 | 50 | 23.80806,92.7347
5 | Old Academic | 600 | 15 | >20 | 38 | Corrugated GI sheet | 500 | 50 | 23.80811,92.73372
6 | TVCC | 438 | 14 | 15 | 66 | RCC flat roof | 400 | 250 | 23.81014,92.73317
7 | Sports Complex | 340 | 13 | 20 | 3.7 | RCC flat roof | 340 | 300 | 23.80991,92.73294
8 | Surgery & Radiology | 75 | 16 | 20 | 15 | RCC slope roof | 70 | NIL | 23.80935,92.73355
9 | LPT | 150 | 10 | 20 | 10 | RCC flat roof | 120 | 50 | 23.8089,92.73368
10 | LPM Farm | 500 | 5 | >20 | 11 | RCC flat roof & Corrugated GI sheet | 450 | 750 | 23.8027,92.73558
11 | KVK & ATTC | 300 | 14 | 15 | 6 | RCC flat roof & Corrugated GI sheet | 280 | 780 | 23.80445,92.7327
12 | PG Boys Hostel | 146 | 15 | 15 | 3 | RCC flat roof Corrugated GI sheet | 75 | NIL | 23.80716,92.73303
13 | PG Girls Hostel | 400 | 14 | 3 | 4 | RCC flat roof coated GI sheet | 350 | 200 | 23.80249,92.734
14 | 1st Year Girls Hostel | 350 | 16 | 5 | 4 | RCC flat roof coated GI sheet | 300 | NIL | 23.80607,92.73295
15 | UG Boys Hostel-I | 350 | 14 | >20 | 4 | Corrugated GI sheet | 300 | NIL | 23.80695,92.73368
16 | UG Boys Hostel-II | 200 | 15 | 20 | 4 | RCC slope & flat roof | 100 | 80 | 23.80681,92.73306
17 | UG Girls Hostel-I | 350 | 14 | >20 | 4 | Corrugated GI sheet | 300 | NIL | 23.80047,92.73457
18 | UG Girls Hostel-II | 146 | 15 | 20 | 4 | RCC slope & flat roof | 100 | NIL | 23.80515,92.73428
|  | 5237 |  |  | 240.7 |  | 4430 | 2640
| Rooftop installation possible (in kW) @8 sqm/kW) | 553.75 | [5 empty] | 264
| Rooftop installation possible (in kW) @8 sqm/kW) | 330 |  | Total installation possible Rooftop + Free land | 883.75 |  |  |  | 90 % of sanction load (in kW) | 720
| Rooftop installation possible (in kW) @15 sqm/kW) | 295.3333

## Page_6
College of Horticulture,Thenzawl, Mizoram
Sr. No. | Building Name / Number | Total Shadow Free Rooftop Area ( in sq. Mtrs) | Height of building (Meters) | Building Age as May 2026 (Years) | Connected Load / Incoming Feedar Rating (KVA) | Place Specify Roof Type (RCC/GI/Sheet/Asbestos etc.) | Undisturbed Availability of rooftop for solar plant life (in Sq Mtrs) | Shadow Free Land for solar (in sq. mtrs) | Latitude/Longitude | Sanction Load (in kW)
1 | Administrative Cum Academic Building | 1097.8 | 20 Mtr | 03 Year | 250 | RCC | 1000 | NIL | 23.30154, 92.75827 | 250
2 | Transit Hostel | 1042 | 10 Mtr | 03 Year | 250 | RCC | 800 | NIL | 23.30163,92.75350
3 | Boys Hostel | 900 | 10 Mtr | 03 Year | 250 | RCC | 800 | NIL | 23.30250,92.75721
4 | Girls Hostel | 900 | 10 Mtr | 03 Year | 250 | RCC | 800 | NIL | 23.30083,92.75368
|  | 3939.8 |  |  | 1000 |  | 3400
| Rooftop installation possible (in kW) @10 sqm/kW) | 425
| Rooftop installation possible (in kW) @15 sqm/kW) | 226.6667 | [6 empty] | 90 % of sanction load (in kW) | 225

## Page_7
College of Post Graduate Studies in Agricultural Sciences, Meghalaya
Sl. No. | Name of Buildings | Rooftop Area (sq.m) | Sanction Load (in kW)
1 | Academic Block/School-I & II | 608 | 400
2 | Girls' Hostel (Ph.D.) | 892
3 | Girls' Hostel (M.Sc.) | 432.4
4 | Girls' Hostel (Extn.) | 312
5 | Boys' Hostel | 864.8
6 | Boys' Hostel (Extn.) | 356
7 | Farmers' Hostel | 702.77
8 | Type-III Old Bldg. | 245.2
9 | Type-III Old Bldg. | 258
10 | Type-IV Old Bldg. | 546
11 | Auditorium | 609
12 | Students' Utility Centre | 516.94
13 | Type-II New Bldg. | 278.28
14 | Type-III New Bldg. | 278.28
15 | Type-IV New Bldg. | 538.56
| Total Area | 7438.23
| Rooftop installation possible (in kW) @10 sqm/kW) | 743.823
| Rooftop installation possible (in kW) @15 sqm/kW) | 495.882
| 90 % of sanction load (in kW) | 360

## Page_8
College of Agriculture,Kyrdemkulai, Meghalaya
Sr. No. | Building Name / Number | Total Shadow Free Rooftop Area ( in sq. Mtrs) | Height of building (Meters) | Building Age as May 2026 ( Years) | Connected Load / Incoming Feedar Rating (KW) | Place Specify Roof Type (RCC/GI/Sheet/Asbestos etc.) | Undisturbed Availability of rooftop for solar plant life | Shadow Free Land available for solar (in sq mtres) | Latitude/Longitude | Sanction Load (in kW)
1 | Administrative Academic Block | 1800 | 15 m | Completed recently | 128 kW / 160 kVA | 35% RCC 65% GI | 1440 | 7000 | 25.742556,91.817111 | 160 kVA
2 | Pre-fabricated Academic Block | 1000 | 4 m | 3 years |  | GI Sheet | 1000 |  | 25.745028,91.819083
3 | Pre-fabricated (Boys Hostel-1) | 1000 | 4 m | 3 years |  | GI Sheet | 1000 |  | 25.744056,91.819750
4 | Pre-fabricated (Boys Hostel-2) | 1000 | 4 m | 3 years |  | GI Sheet | 1000 |  | 25.744556,91.819750
5 | Girls Hostel | 380 | 12 m | 3 years |  | GI Sheet | 380 |  | 25.744083,91.817444
6 | Transit Guest House | 300 | 12 m | 3 years |  | GI Sheet | 300 |  | 25.744083,91.817444
7 | Boys Hostel | 380 | 12 m | Completed recently |  | GI Sheet | 380 |  | 25.743444,91.817722
8 | Tribal Girls Hostel | 350 | 7 m | About to complete |  | RCC | 280 |  | 25.743833,91.817250
9 | Type-II Quarter | 150 | 4 m | Completed recently |  | GI Sheet | 150 |  | 25.745333,91.817944
|  | 6360 |  |  |  |  | 5930
| Rooftop installation possible (in kW) @10 sqm/kW) | 741.25
| Rooftop installation possible (in kW) @15 sqm/kW) | 395.3333 | [6 empty] | 90 % of sanction load (in kW) | 144

## Page_9
College of Community Science,Tura, Meghalaya
Sr. No. | Building Name / Number | Total Shadow Free Rooftop Area ( in sq. Mtrs) | Height of building ( Meters) | Building Age as May 2026 ( Years) | Connected Load / Incoming Feedar Rating (KW) | Place Specify Roof Type (RCC/GI/Sheet/Asbestos etc.) | Shadow Free Land available for solar (in sq mtrs) | Latitude/Longitude | Sanction Load (in kW)
1 | Academic Building | 180 | 12 | 18 | 500 KVA | Dyna roof | 7 Acres | Latitude: 25.4963776 | 850 kVA
2 | Library Block | 100 | 7 | 7 |  | RCC |  | Longitude:90.2121270
3 | Weaving and Spinning Lab | 30 | 4 | 7 |  | RCC
4 | Food Processing Building | 186 | 12 | 7 |  | RCC
5 | Nursery School | 150 | 4 | 7 |  | RCC
6 | Guest House | 70 | 4 | 18 |  | RCC + Dyna roof
7 | Girls Hostel | 800 | 12 | 18 |  | Dyna roof
8 | Boys Hostel | 171 | 4 | 7 |  | RCC + Dyna roof
9 | MITTC & VTTC Building | 40 | 12 | 7 |  | RCC
10 | Water Pump House (3 Nos.) | 60 | 3 | 18 yrs, 7 yrs, 7 yrs |  | RCC
|  | 1787 |  |  |  |  | 28328
| Rooftop installation possible (in kW) @10 sqm/kW) | 3011.5
| Rooftop installation possible (in kW) @15 sqm/kW) | 119.1333 | [5 empty] | 90 % of sanction load (in kW) | 765

## Page_10
College of Veterinary Sciences & Animal Husbandry, Jalukie, Nagaland
Sr. No. | Building Name / Number | Total Shadow Free Rooftop Area ( in sq. Mtrs) | Height of building ( Meters) | Building Age as May 2026 ( Years) | Connected Load / Incoming Feedar Rating (KW) | Place Specify Roof Type (RCC/GI/Sheet/Asbestos etc.) | Undisturbed Availability | Shadow Free Land | Latitude/Longitude | Sanction Load (in kW)
1 | Admin Academic Block | 1100 | 20.55 | 2 | 212.5 | RCC | Fully available | 2000 | 25.64545-93.64163 | 212.5
2 | Girls Hostel | 700 | 11.5 | 7 |  | RCC | Fully available | 1500 | 25.64868-93.63952
3 | Boys Hostel | 700 | 11.5 | 5 |  | RCC | Fully available | 1500 | 25.64685-93.63952
4 | Transit Hostel | 1050 | 7.8 | 4 |  | RCC | Fully available | 1500 | 25.64819-93.63861
3550
| Rooftop installation possible (in kW) @10 sqm/kW) | 355
| Rooftop installation possible (in kW) @15 sqm/kW) | 236.6667 | [6 empty] | 90 % of sanction load (in kW) | 191.25

## Page_11
College of Agriculture,Iroisemba,Imphal, Manipur
Sr. No. | Building Name/ Number | Total shadow free rooftop area (In Sq. Mtrs) | Height of Building (Meters) | Building Age as on May 2026 (Years) | Connected Load/Incoming feeder rating (kW/kVA) | Please specify Roof Type (RCC/GI Sheet/Asbestos etc.) | Undisturbed availability of rooftop for solar plant life | Shadow Free Land Available for solar (In Sq. Mtrs) | Building Latitude – Longitude Details | Sanction Load (in kW)
1 | Administrative building | 500 | 10m | 22 yrs | 2 | GI Sheet |  | No | 24°48'40.0"N 93°53'34.6"E | 500 kVA
2 | Academic-I | 388 | 10m | 22 yrs | 2 | GI Sheet |  | No | 24°48'45.8"N 93°53'24.3"E
3 | Academic-II | 448 | 10m | 10 yrs | 2 | GI Sheet |  | No | 24°48'48.4"N 93°53'24.3"E
4 | PG Boys hostel | 200 | 10m | 10 yrs | 2 | GI Sheet |  | No | 24°48'48.4"N 93°53'29.4"E
5 | UG Boys' hostel | 880 | 10m | 22 yrs | 2 | GI Sheet |  | No | 24°48'41.1"N 93°53'35.1"E
6 | UG Girls' hostel | 800 | 10m | 22 yrs | 2 | GI Sheet |  | No | 24°48'51.1"N 93°53'17.9"E
7 | PG Girls' Hostel | 400 | 6m | 1 yrs | 2 | GI Sheet |  | No | 24°48'51.1"N 93°53'17.9"E
8 | Farmer hostel | 276 | 10m | 12 yrs | 2 | GI Sheet |  | No | 24°48'40.2"N 93°53'29.9"E
|  | 3892 |  |  | 16
| Rooftop installation possible (in kW) @10 sqm/kW) | 389.2
| Rooftop installation possible (in kW) @15 sqm/kW) | 259.4667 | [6 empty] | 90 % of sanction load (in kW) | 450

## Page_12
CAU Headquarter,Lamphelpat, Imphal, Manipur
Sr. No. | Building Name/ Number | Total shadow free rooftop area (In Sq. Mtrs) | Height of Building (Meters) | Building Age as on May 2026 (Years) | Connected Load/Incoming feeder rating (kW/kVA) | Please specify Roof Type (RCC/GI Sheet/Asbestos etc.) | Undisturbed availability of rooftop for solar plant life | Shadow Free Land Available for solar (In Sq. Mtrs) | Building Latitude – Longitude Details | Sanction Load (in kW)
1 | Guest House | 455 | 10 | 9 | 30 | Pre coated GI sheet | 80% | NA | 24.8300554, 93.9265836 | 187.5 kVA
2 | VC Residence | 178 | 7 | 9 | 8 | Pre coated GI sheet
3 | Admin Building | 950 | 10 | 9 | 80 | Pre coated GI sheet
4 | Sub station | 130 | 3 | 9 | 2 | Pre coated GI sheet
5 | Garage | 120 | 3 | 9 | 2 | Pre coated GI sheet
6 | Type V A | 80 | 8 | 9 | 5 | Pre coated GI sheet
7 | Type V B | 80 | 8 | 9 | 5 | Pre coated GI sheet
|  | 1993 |  |  | 132 |  | 1594.4
| Rooftop installation possible (in kW) @10 sqm/kW) | 199.3
| Rooftop installation possible (in kW) @15 sqm/kW) | 106.2933 | [6 empty] | 90 % of sanction load (in kW) | 168.75

## Page_13
Cau NEC Model Fish Farm, Imphal, Mizoram- Directorate of Extension Education
Sr. No. | Building Name/ Number | Total shadow free rooftop area (In Sq. Mtrs) | Height of Building (Meters) | Building Age as on May 2026 (Years) | Connected Load/Incoming feeder rating (kW/kVA) | Please specify Roof Type (RCC/GI Sheet/Asbestos etc.) | Undisturbed availability of rooftop for solar plant life | Shadow Free Land Available for solar (In Sq. Mtrs) | Building Latitude – Longitude Details | Sanction Load (in kW)
1 | Cow shed-1 | 450 | 3 | 5 | 4 | Pre coated GI sheet | 80% | 5000 sq Mtr | 24.81667, 93.90567 | 250 kVA
2 | Cow shed-2 | 340 | 3 | 5 | 4 | Pre coated GI sheet
3 | Cow shed-3 | 230 | 3 | 5 | 4 | Pre coated GI sheet
4 | Training Hall | 500 | 10 | 5 | 30 | Pre coated GI sheet
5 | Work Shed-1 | 100 | 3 | 5 | 5 | Pre coated GI sheet
6 | Work Shed-2 | 100 | 3 | 5 | 5 | Pre coated GI sheet
7 | Work Shed-3 | 100 | 3 | 5 | 5 | Pre coated GI sheet
8 | Office-1 | 350 | 4 | 5 | 30 | Pre coated GI sheet
9 | Office-2 | 90 | 4 | 2 | 15 | Pre coated GI sheet
|  | 2260 |  |  | 102 |  | 1808
| Rooftop installation possible (in kW) @10 sqm/kW) | 226
| Rooftop installation possible (in kW) @15 sqm/kW) | 120.5333 | [6 empty] | 90 % of sanction load (in kW) | 225