## Grand Total Summary Schedule 3
SCHEDULE NO 3/ SCHEDULE OF RATES [SOR-3] - GRAND TOTAL SUMMARY
Total Price of Schedule No 1/SOR 1 | 0
Total Price of Schedule No 2/SOR 2 | 0
Total Value of SOR 1 & SOR 2 = SOR 3 | 0
Evaluated Bid Value (EBV) = [Total Value of SOR 1 & SOR 2 = SOR 3 in INR]

## Schedule 1
Schedule No. 1. : 5 * 160 MVA, 220/33-33 kV PT Package
Item | Description | Unit | Quantity | Unit Price (INR) | Total Price excluding GST (INR) | Total value of Applicable GST (in figures) | % of GST applied (Ex 5%, 18% etc) | Total Ex works Price including GST (INR)
1 | 2 | 3 | 4 | 5 | 6=4*5 | 7=6*GST% | 8 | 9=6+7
1 | SUPPLY OF 160 MVA, ONAN/ONAF (70/100%), 220/33-33 kV Power Transformer of Vector Group YNyn0yn0, Z = 15%, mounted with On Load Tap Changer (OLTC) | Nos. | 5 |  | 0 | 0 |  | 0
2 | RTCC panel along with Automatic Voltage Regulator | Nos. | 5 |  | 0 | 0 |  | 0
3 | Cooler Control Cabinet | Nos. | 5 |  | 0 | 0 |  | 0
4 | Nitrogen Fire Protection System for 160 MVA, 220 kV/33-33 kV, 3-phase Power Transformer along with MS tank | Nos. | 5 |  | 0 | 0 |  | 0
5 | Mandatory Spares, including 10% additional transformer oil in drums | Nos. | 5 |  | 0 | 0 |  | 0
| GRAND TOTAL (INR) | [6 empty] | 0
General instructions to fill the Price Schedules
1 | The payment of GST/Taxation by the Owner shall only be at the CEILING of GST/Taxation as mentioned by the Bidder in this Schedule No. 1 at the time of bidding. Bidders are required to quote the applicable GST/Taxation with due diligence & appropriate financial prudence, as afterwards bidders will not be able to change or claim the GST charges already quoted during the bid.
3 | Bidders are required to fill the relevant portion/Parts/Line items/scope of the respective Price Schedules only. In case, any line item is left blank by the bidder, it will be deemed assumed by the Owner that such portion/Parts/line item/Scope has been considered by the bidder suitably somewhere else in the Price schedules..
5 | In case the bidder don't want to mention any quantity/price in any particular line item, then he has to mandatorily put zero (0) against that particular line item.
6 | The bidders must mandatorily quote the GST for transformer Supply and transformer Freight part in line with the current prevailing GST rate as per the applicable HSN Code. The bidders are required to exercise utmost diligence in mentioning such GST % , else SECI reserves all rights to correct the taxation part so as to arrive at the right taxation percentage & thereby the final total cost (If corrected)

## Schedule 2
Schedule No. 2. : 5 * 160 MVA, 220/33-33 kV PT Package
Sl. No. | Description of Item | Quantity | Price |  | Goods & Service Tax (GST) in absolute figures | % (Percentage) of Goods & Service Tax (GST) considered | Total Price including GST (INR)
|  |  | Unit Charges (INR) | Total Charges (INR)
1 | 2 | 3 | 4 | 5=3*4 | 6 | 7 | 8=6+7
A - INSTALLATION & OTHER SERVICES
1 | ENGINEERING, DESIGN, TESTING,PACKING, FORWARDING, TRANSPORTATION, FREIGHT, INSURANCE TILL SITE | 5 |  | 0 | 0 |  | 0
Grand Total A | [6 empty] | 0
General instructiosn to fill the Price Schedules
1 | The payment of GST/Taxation by the Owner shall only be at the CEILING of GST/Taxation as mentioned by the Bidder in the Schedule No 2 at the time of bidding. Bidders are required to quote the applicable GST/Taxation with due diligence & appropriate financial prudence, as afterwards bidders will not be able to change or claim the GST charges already quoted during the bid.
2 | Bidders are required to fill the relevant portion/Parts/Line items/scope of the respective Price Schedules only. In case, any line item is left blank by the bidder, it will be deemed assumed by the Owner that such portion/Parts/line item/Scope has been considered by the bidder suitably somewhere else in the Price schedules..
3 | In case the bidder don't want to mention any quantity/price in any particular line item, then he has to mandatorily put zero (0) against that particular line item.
4 | The bidders must mandatorily quote the GST for Supply and ENGINEERING, DESIGN, TESTING,PACKING, FORWARDING, TRANSPORTATION, FREIGHT, INSURANCE TILL SITE, UNLOADING, STACKING AT SITE STORES, INSTALLATION, TESTING AND COMMISSIONING part in line with the current prevailing GST rate as per the applicable HSN Code. The bidders are required to exercise utmost diligence in mentioning such GST % , else SECI reserves all rights to correct the taxation part so as to arrive at the right taxation percentage & thereby the final total cost (If corrected)